## Slide 1
Florida Keys
Aqueduct Authority
SOUTHEAST FLORIDA REGIONAL CLIMATE CHANGE COMPACT OCTOBER 6, 2025 FKAA ISLAMORADA TRANSMISSION MAIN ADAPTATION PROJECT DAVID HACKWORTH DIRECTOR OF ENGINEERING

## Slide 2: FKAA’s Approach to Improved Resiliency
Key Largo Booster
Pump Station
Long Key Booster
Pump Station
Marathon Booster
Pump Station
Ramrod Booster
Pump Station
Future Crawl Key Reverse
Osmosis Plant
Stock Island Reverse Osmosis Plant
Islamorada Transmission Main
Parallel pipeline
New Desalination Plants

## Slide 3: Project Justification
Susceptible to water hammer during power interruptions
Ductile Iron Pipe
Approx 45 years old
Exposed to tidal seawater
No redundancy – repairs must be made within 24 hours

## Slide 4
  Approximately 4 miles of 36-inch cathodically protected welded steel pipe
  $39 million total project cost. $17.5 million funded by Resilient Florida Implementation Grant
  $21.5 million match from WIFIA Loan and revenue loans
  Design/Bidding/Award –14 months
  Construction –23 months
  This project is part of long-term plan to install approximately 130 miles of new pipeline
Project Overview

## Slide 5: Project Prioritization Process
Regulatory Requirements
Asset Rehabilitation and Replacement
System Capacity Requirements

## Slide 6
Primary Challenge
Southbound US-1
Existing Transmission Main
Replacement Transmission Main

## Slide 7: Innovations and Lessons Learned
Owner Direct Purchase of Materials
Interlocal Agreement with FDOT for Landscape Restoration
Utilized Public Relations Firm